## Cover Sheet
731DHF004 - BG-75 Base CPM
Revision | Date | Reason for Change
A | 2015-08-05 | Design Transfer Release
B | 2016-02-26 | See revision updates highlighted in yellow
C | 2016-03-07 | Changed MPI070 to rev C, added ECO0211, 731DTC001, and the DSC DMR. Pulled latest BOMs from ePDM with material, manufacturer, and finish lists updated.
D | 2016-03-17 | Added service Kits Added pH probe 742MPI002 RevB
Approver | Date | Signature
Mark Khachaturian VP R&D
Chuck Underwood Director of QA

## DHF Index
Document # | Type | Document | Status | Revision
BOOK01 | Type | Plans | Status | Revision
731PLN003 | Plan | 30 Minute Development Plan | Released | A
BOOK02 | Type | User Level | Status | Revision
711FRM045 | User | Site Readiness Checklist | Released | A
711MNL004 | User | Operator Manual | Released | C
711MNL002 | User | PM Manual | Released | B
731SW003 | User | BG Cyclotron Control Theory | Released | A
BOOK03 | Type | Risk Management | Status | Revision
733PLN002 | Risk | Risk Management Plan | Released | B
733RPT003 | Risk | Product Hazard Analysis | Released | C
733RPT004 | Risk | Risk Summary Report | Released | B
733RPT005 | Risk | Process Product Hazard Analysis | Next DHF Update | A
BOOK04 | Type | Marketing Document | Status | Revision
753PSS001 | Marketing | Product Specification Sheet | Released | B
753PBR001 | Marketing | Product Brochure | Released | A
BOOK05 | Type | Design Inputs | Status | Revision
731DIP003 | Inputs | BG Subsystem - RIG Requirements | Released | E
731DIP004 | Inputs | Design Input Requirements, Chemistry Production Module | Released | B
BOOK06 | Type | Verification and Validation Protocols | Status | Revision
731PLN011 | V&V | RIG Verification Plan | Released | B
731PLN015 | V&V | Verification Protocol, 30 Minute Cycle Time Upgrade | Released | A
BOOK07 | Type | Summary Reports | Status | Revision
731RPT008 | Reports | Design Verification Report, Chemistry Production Module | Released | A
BINDER001 (HC) | Reports | 30 Minute V&V Support Data | Released | A
731DHF002 (HC) | Reports | DHF for the DSC | Released | A
ECO0211 | Reports | Update DSC Reactor Straw and Column Process | Released | A
731RPT005 | Reports | Software BMG v4 2 2 Validation Report | Released | A
731RPT009 | Reports | EC Conformity Agreement | Released | A
731RPT003 | Reports | Design Verification Report, Radio-Isotope Generator | Released | A
731RPT010 | Reports | Cleaning Validation Report | Released | A
605-99-4894 | Reports | FINAL CLOSE-OUT RPT EXTRACTION STUDIES | Released | A
625-99-4886 | Reports | A RE-VALIDATION REPORT FOR RADIOCHEMICAL PURITY TEST IN FDG | Released | A
756RPT004 | Reports | van der stähl Bag Sealer IQ, OQ, & PQ Test Report | Released | B
ECO00035 | Reports | Release Laminar Flow Hood Assembly | Released | A
731RPT011 | Reports | Worst Case Testing - Temperature and Humidity Report | Released | A
BOOK08 | Type | System | Status | Revision
800-05-2436 | BOM | System BOM | Released | A
210-34-6198 | BOM | System Site Interface BOM | Not Released | A
711PAT012 | PAT | BG System | Released | B
711FPI004 | FPI | Onsite Printer Procurement SOP | Released | A
711MPI155 | MPI | FDG Master Formula | Released | A
BOOK09 | Type | BOM | Status | Revision
Various | BOM | Links | Released | Various
BOOK10 | Type | Design Transfer | Status | Revision
731DTC001 | Transfer | 30 Minute Design Transfer Checklist | Released | A
BOOK11 | Type | Kits and Consumables | Status | Revision
210-75-4198 | BOM | Large Reagent Kit | Released | A
210-85-4445 | BOM | Small Reagent Kit | Released | A
210-85-4464 | BOM | SST Kit | Released | B
210‐85‐4607 | BOM | QC Calibration Kit | Released | A
210-85-5040 | BOM | FDG Synthesis, Reagent Accessory Set | Released | A
210-85-6170 | BOM | O-18 Water | Released | A
BOOK12 | Type | CPM | Status | Revision
711FRM041 | FRM | CPM Configuration Instructions and Checklist | Released | C
711PAT008 | PAT | CPM | Released | D
711FPI008 | FPI | Installing the 30 Minute Cycle Time System Upgrade | Released | A
711FPI009 | FPI | Upgrading to the Azura UVVis | Released | A
711FPI011 | FPI | Large Reagent Kit Setup | Released | A
711MPI064 | MPI | RMS Build | Released | A
711MPI066 | MPI | CPM Build Instruction | Released | C
711MPI067 | MPI | CPM Laminar Flow Hood Assembly | Released | A
711MPI070 | MPI | CONFIGURING THE CHEMISTRY CONTROL UNIT | Released | D
711MPI071 | MPI | LOVE CONTROLLER CONFIGURATION | Released | A
711MPI072 | MPI | KLOEHN PUMP CONFIGURATION | Released | B
711MPI074 | MPI | CPM QUALITY CONTROL DRAW CALIBRATION | Released | C
711MPI075 | MPI | CPM Bubbler Calibration | Released | C
711MPI135 | MPI | CPM Teardown and Packing | Released | A
742MPI002 | MPI | pH Probe IIS and Packaging | Released | B
711FRM007 | FRM | CPM Work Order Form | Released | B
711SOP001 | SOP | Use, Calibration and Maintenance of the QCM | Released | B
616-99-5610 | Schematic | 30 MINUTE CPM BUILD OVERVIEW | Released | C
616-99-3734 | Schematic | RMS PLUMBING | Released | C
616-99-6106 | Schematic | CPM GAS PLUMBING (CPM 1.5) | Released | A
210-75-2037 | BOM | CPM BOM | Released | A
BOOK13 | Type | RIG | Status | Revision
210-05-5209 | BOM | RIG BOM | Released | A
755SOP001 | SOP | Accelerator Cabinet Lock Out Procedure For ASI Amp | Released | A
755SOP002 | SOP | Target Maintenance Procedure | Released | A
711FRM044 | FRM | Main Cooling Inspection Form | Released | A
711PAT002 | PAT | Mapping | Released | A
711PAT006 | PAT | RIG | Released | A
755SOP001 | SOP | Accelerator Cabinet Lock Out Procedure For ASI Amp | Released | A
755SOP002 | SOP | Target Maintenance Procedure | Released | A
711FRM008 | FRM | Pre-Mapping and Mapping Work Order Form | Released | B
711FRM011 | FRM | Accelerator Work Order Form | Released | B
711FPI003 | FPI | High-Flow SS Target Assembly Upgrade | Released | A
711FPI007 | FPI | Filling the H2 Generator Water Reservoir | Released | A
711FPI010 | FPI | Purging Hydrogen Gas Lines | Released | A
711MPI002 | MPI | Accelerator Cabinet Cooling Fan Installation | Released | A
711MPI003 | MPI | Electronics Cabinet Bus Bar Assembly | Released | A
711MPI004 | MPI | Electronics Cabinet Panel and Door Removal | Released | A
711MPI005 | MPI | Electronics Cabinet Power Strip Assembly | Released | A
711MPI006 | MPI | Magnet Power Supply (100-61-0461) Prep | Released | A
711MPI007 | MPI | RF Transmission Cable Assembly (110-25-4655) | Released | A
711MPI008 | MPI | Vacuum Controller Assembly Installation | Released | B
711MPI009 | MPI | 1U (100-60-2994) and 2U (100-34-4593) Rack Panel Installation | Released | A
711MPI010 | MPI | Accelerator Control Unit Cabinet (110-63-0019) Installation | Released | A
711MPI011 | MPI | Argon Manifold Plumbing (210-36-1160) Assembly | Released | B
711MPI012 | MPI | Installation Of Configured Ion Source Power Supply (ISPS) | Released | A
711MPI013 | MPI | Installation Of The Shield Control Chassis (SCU) 110-10-2971 | Released | A
711MPI014 | MPI | Main System Power Cable Assembly | Released | A
711MPI015 | MPI | O18 Communication Module Assembly | Released | A
711MPI016 | MPI | Power Distribution Box Verification | Released | A
711MPI017 | MPI | Cabinet Component Mounting Rails QEI Amp | Released | A
711MPI018 | MPI | RF Power Cable QEI Amplifier | Released | A
711MPI019 | MPI | RF Controller (110-25-0445) Installation | Released | A
711MPI020 | MPI | Foreline Trap Assembly (100-30-0446) | Released | A
711MPI021 | MPI | DS Main Power Cable (100-64-4260) Assembly | Released | A
711MPI022 | MPI | Mechanical Pump Assembly (210-30-3466) | Released | A
711MPI023 | MPI | Target Accessories Assembly (210-05-2514) | Released | A
711MPI024 | MPI | Dee Stem Water Manifold (210-50-0963) Assembly | Released | A
711MPI025 | MPI | Foreline (210-30-4581) Assembly | Released | A
711MPI026 | MPI | Vacuum Plenum Assembly (210-30-3446) | Released | A
711MPI027 | MPI | Main Cooling DI Column (210-50-3295) Assembly | Released | B
711MPI028 | MPI | RF Ground Ring (210-25-1493) Assembly | Released | A
711MPI029 | MPI | Target Body (210-45-1577) Assembly | Released | A
711MPI030 | MPI | Water To Water Heat Exchanger (210-50-1479) Assembly | Released | A
711MPI031 | MPI | Installation of Bottom Vacuum Seal Plate (200-20-2332) to Yoke Plate Lower | Released | A
711MPI032 | MPI | RF Feedthru Assembly (210-25-4678) | Released | A
711MPI033 | MPI | Dee Can Assembly | Released | B
711MPI034 | MPI | Dee Can Assembly with Feedthru (210-25-0375) | Released | A
711MPI035 | MPI | Installation of Magnet Coil Assembly | Released | A
711MPI036 | MPI | Cleaning the Steel after Mapping | Released | A
711MPI037 | MPI | Accelerator Screwjack and Stop Nut Installation | Released | B
711MPI038 | MPI | Inspection and Prep of Upper and Lower Yoke Plates and Yoke Ring | Released | B
711MPI040 | MPI | Installation Of Turbo Pump | Released | A
711MPI041 | MPI | Installation Of The Dee Assembly | Released | B
711MPI042 | MPI | Power Distribution Box Installation (110-65-0018) | Released | B
711MPI043 | MPI | Magnet Power Supply Installation | Released | A
711MPI044 | MPI | ISPS CONFIGURATION MPI | Released | A
711MPI046 | MPI | Magnet Safety Interlock Switch Assembly | Released | A
711MPI051 | MPI | Water Manifold Build | Released | B
711MPI060 | MPI | Hill Preparation and Installation | Released | A
711MPI073 | MPI | Configuring the RIG | Released | C
711MPI130 | MPI | Configuring the RS-232 Ethernet Device | Released | B
711MPI131 | MPI | Boronated Poly Shield Pour | Released | A
711MPI137 | MPI | Shield Level Switch Installation | Released | C
711MPI138 | MPI | Chiller 2.0 Upgrade | Released | A
711MPI139 | MPI | Built and Install IS Support Structure | Released | A
711MPI141 | MPI | Hydraulic Shield Lift Installation | Released | A
711MPI144 | MPI | Target Weldments Testing Procedure | Released | A
711MPI148 | MPI | Ion Source Cartridge Build | Released | A
711MPI149 | MPI | Target Cleaning Procedure | Released | A
711MPI156 | MPI | Ion Source Support Structure Weldment | Released | B
711MPI160 | MPI | RIG Communication Module Assembly | Released | A
BOOK14 | Type | RIG Targets | Status | Revision
210-45-5191 | BOM | High Flow Stainless Steel 1.0 | Released | B
711MPI122 | MPI | ABPS121 ABT HF SS Target Body | Released | A
210-45-5399 | BOM | Tantalum 1.0 BOM | Released | A
711MPI132 | MPI | ABPS122 Braze of Ta Target 1.0 Body | Released | A
BOOK16 | Type | Software | Status | Revision
220-62-6015 | BOM | Software BOM | Released | A
711FRM059 | FRM | HMI Configuration Checklist | Released | A
711FPI001 | FPI | Installing or Updating User Dialog Package on the HMI | Released | D
711FPI002 | FPI | Installing or Updating Records on the HMI | Released | D
711FPI012 | FPI | 176 HMI Image Deployment | Released | D
711FPI014 | FPI | 198 HMI Image Deployment | Released | D
711MPI069 | MPI | HMI Configuration | Released | F
711MPI145 | MPI | HMI Image Capture | Released | A
711MPI158 | MPI | Acronis USB Boot Drive Creation | Released | A
BOOK17 | Type | Service | Status | Revision
755MNL001 | Service | BG 75 System-Technical Service Manual | Released | A
755MNL003 | Service | BG75 30 Minute Service Manual Addendum | Released | A
755FRM004 | Service | Preventative Maintenance Schedule | Released | D
530-85-5846 | Service | BG75 PREVENTATIVE MAINTENANCE KIT, 3 MONTH, 30-MINUTE | Released | A
530-85-5847 | Service | BG75 PREVENTATIVE MAINTENANCE KIT, 6 MONTH, 30-MINUTE | Released | A
530-85-5847 | Service | 530-85-5848 BG75 PREVENTATIVE MAINTENANCE KIT, 12 MONTH, 30-MINUTE | Released | A
530-85-6044 | Service | QC PLUMBING KIT | Released | A
530-85-6045 | Service | RMS PLUMBING KIT | Released | A
530-85-6046 | Service | ION SOURCE SUPPORT STRUCTURE REBUILD KIT | Released | A
BOOK19 | Type | Technical Design Reviews | Status | Revision
2014-02-05 | TDR | McFarland - 30 Minute Cycle Time | Released | A
2014-02-11 | TDR | Abner - 30 Minute Cycle Time Active Cooling | Released | A
2014-10-07 | TDR | McFarland - 30 Minute V&V Plan | Released | A
731DTR002 | TDR | Design Transfer Review, 30 Minute | Released | A
BOOK22 | Type | Drug Master File | Status | Revision
TBD | DMF | 30 Minute DMF | Next DHF Update | A

## Pareto
Type | Not Released | New Revision | Routing | Released | Next DHF Update
Plan | 0 | 0 | 0 | 1 | 0
User | 0 | 0 | 0 | 4 | 0
Risk | 0 | 0 | 0 | 3 | 1
Inputs | 0 | 0 | 0 | 2 | 0
V&V | 0 | 0 | 0 | 2 | 0
Reports | 0 | 0 | 0 | 13 | 0
Marketing | 0 | 0 | 0 | 2 | 0
BOM | 1 | 0 | 0 | 13 | 0
PAT | 0 | 0 | 0 | 4 | 0
Schematic | 0 | 0 | 0 | 3 | 0
EQP | 0 | 0 | 0 | 0 | 0
Transfer | 0 | 0 | 0 | 1 | 0
DMR | 0 | 0 | 0 | 0 | 0
FRM | 0 | 0 | 0 | 6 | 0
MPI | 0 | 0 | 0 | 73 | 0
SOP | 0 | 0 | 0 | 5 | 0
FPI | 0 | 0 | 0 | 11 | 0
Software | 0 | 0 | 0 | 0 | 0
Service | 0 | 0 | 0 | 9 | 0
DMF | 0 | 0 | 0 | 0 | 1
TDR | 0 | 0 | 0 | 4 | 0